## Sheet1
Actual System Dispatch | [101 empty] | Energy |  |  |  |  | PFs | 13 | 4 | 7 |  |  | Energy |  |  | PFs | 13 | 4 | 7
Time | 0:15 | 0:30 | 0:45 | 1:00 | 1:15 | 1:30 | 1:45 | 2:00 | 2:15 | 2:30 | 2:45 | 3:00 | 3:15 | 3:30 | 3:45 | 4:00 | 4:15 | 4:30 | 4:45 | 5:00 | 5:15 | 5:30 | 5:45 | 6:00 | 6:15 | 6:30 | 6:45 | 7:00 | 7:15 | 7:30 | 7:45 | 8:00 | 8:15 | 8:30 | 8:45 | 9:00 | 9:15 | 9:30 | 9:45 | 10:00 | 10:15 | 10:30 | 10:45 | 11:00 | 11:15 | 11:30 | 11:45 | 12:00 | 12:15 | 12:30 | 12:45 | 13:00 | 13:15 | 13:30 | 13:45 | 14:00 | 14:15 | 14:30 | 14:45 | 15:00 | 15:15 | 15:30 | 15:45 | 16:00 | 16:15 | 16:30 | 16:45 | 17:00 | 17:15 | 17:30 | 17:45 | 18:00 | 18:15 | 18:30 | 18:45 | 19:00 | 19:15 | 19:30 | 19:45 | 20:00 | 20:15 | 20:30 | 20:45 | 21:00 | 21:15 | 21:30 | 21:45 | 22:00 | 22:15 | 22:30 | 22:45 | 23:00 | 23:15 | 23:30 | 23:45 | 0:00 | Energy/(MWh) * | Day)0530-1830Hrs) | Peak (1830-2230Hrs) | Off-peak(2230-0530Hrs) |  |  | Capacity(MW) | Day)0530-1830Hrs) | Peak (1830-2230Hrs) | Off-peak(2230-0530Hrs) | 31 | Day)0530-1830Hrs) | Peak (1830-2230Hrs) | Off-peak(2230-0530Hrs) |  |  | Day)0530-1830Hrs) | Peak (1830-2230Hrs) | Off-peak(2230-0530Hrs) | 31 | Day)0530-1830Hrs) | Peak (1830-2230Hrs) | Off-peak(2230-0530Hrs)
Canyon | 989 | 1005 | 1005 | 1007 | 1002 | 1003 | 1003 | 1001 | 1002 | 1003 | 1004 | 1003 | 1005 | 1004 | 1004 | 1002 | 1004 | 1002 | 1003 | 1003 | 1005 | 1006 | 1002 | 1004 | 1003 | 1004 | 1001 | 1001 | 1002 | 1003 | 1002 | 1003 | 984 | 984 | 986 | 983 | 1010 | 1011 | 1010 | 1002 | 1000 | 1004 | 1004 | 1005 | 1006 | 1007 | 1007 | 1006 | 1009 | 1007 | 1006 | 1005 | 1008 | 977 | 977 | 977 | 1007 | 1007 | 1000 | 1002 | 1000 | 999 | 1001 | 1002 | 1000 | 1000 | 1000 | 1001 | 967 | 1002 | 1002 | 999 | 1001 | 1000 | 1000 | 1002 | 1001 | 1002 | 1004 | 1003 | 1003 | 1004 | 1003 | 1003 | 1003 | 1004 | 1005 | 1003 | 1004 | 1008 | 1008 | 1005 | 1005 | 1006 | 997 | 995 | 24244 | 12997.5 | 4013 | 7020.25 | 24030.75 | Wimalasurendra | 50 | 8608.75 | 2883.25 | 2463.5 |  | 42.72% | 46.5% | 22.71%
WPS | 330 | 370 | 340 | 340 | 300 | 265 | 265 | 245 | 252 | 260 | 250 | 265 | 270 | 295 | 310 | 360 | 372 | 373 | 395 | 476 | 561 | 625 | 659 | 670 | 790 | 838 | 855 | 810 | 734 | 700 | 695 | 665 | 645 | 655 | 635 | 620 | 610 | 628 | 605 | 570 | 580 | 580 | 585 | 615 | 620 | 635 | 670 | 675 | 695 | 700 | 647 | 619 | 600 | 590 | 575 | 575 | 575 | 570 | 581 | 590 | 605 | 605 | 615 | 605 | 626 | 635 | 630 | 620 | 595 | 570 | 597 | 746 | 1039 | 1286 | 1249 | 1130 | 1030 | 950 | 855 | 765 | 735 | 650 | 625 | 554 | 545 | 525 | 515 | 495 | 470 | 440 | 405 | 405 | 385 | 390 | 380 | 370 | 13990 | 8608.75 | 2883.25 | 2463.5 | 13955.5 | Old Laxapana | 53.5 | 20060.5 | 6397.25 | 9934 |  | 93.04% | 96.43% | 85.57%
Olax | 1425 | 1421 | 1461 | 1443 | 1420 | 1437 | 1426 | 1426 | 1367 | 1343 | 1342 | 1332 | 1300 | 1284 | 1269 | 1275 | 1312 | 1398 | 1425 | 1486 | 1520 | 1547 | 1596 | 1558 | 1595 | 1611 | 1623 | 1605 | 1584 | 1552 | 1529 | 1486 | 1522 | 1521 | 1511 | 1505 | 1513 | 1489 | 1464 | 1486 | 1517 | 1529 | 1519 | 1520 | 1526 | 1526 | 1531 | 1532 | 1553 | 1563 | 1581 | 1565 | 1548 | 1523 | 1514 | 1514 | 1516 | 1534 | 1533 | 1539 | 1571 | 1552 | 1539 | 1539 | 1538 | 1549 | 1566 | 1569 | 1501 | 1546 | 1523 | 1551 | 1614 | 1651 | 1641 | 1643 | 1641 | 1617 | 1620 | 1615 | 1607 | 1609 | 1609 | 1594 | 1595 | 1567 | 1534 | 1557 | 1583 | 1557 | 1557 | 1544 | 1522 | 1522 | 1474 | 1458 | 36492 | 20060.5 | 6397.25 | 9934 | 36391.75 | Canyon | 60 | 12997.5 | 4013 | 7020.25 |  | 53.75% | 53.94% | 53.92%
Nlax | 3027 | 3065 | 3057 | 3053 | 3055 | 3048 | 3063 | 3042 | 3035 | 3043 | 3044 | 3033 | 3040 | 3043 | 3051 | 3051 | 3060 | 3050 | 3006 | 3042 | 3050 | 3059 | 3051 | 3049 | 3057 | 3048 | 3027 | 3031 | 3040 | 3032 | 3043 | 3036 | 3036 | 3041 | 3006 | 2971 | 2961 | 2959 | 2958 | 2950 | 2951 | 2960 | 2959 | 2921 | 2914 | 2910 | 2955 | 2959 | 2953 | 2949 | 2942 | 2941 | 2949 | 2945 | 2958 | 2960 | 2964 | 2961 | 2972 | 3011 | 3008 | 3004 | 3015 | 3018 | 3011 | 3008 | 3009 | 3061 | 2943 | 3038 | 3036 | 3017 | 3066 | 3054 | 3048 | 3038 | 3057 | 3052 | 3047 | 3051 | 3054 | 3053 | 3057 | 3049 | 3041 | 3035 | 3041 | 3023 | 3040 | 3043 | 3041 | 3048 | 2998 | 2984 | 2981 | 3000 | 72290 | 38904.5 | 12182.25 | 21267.25 | 72354 | New Laxapana | 116 | 38904.5 | 12182.25 | 21267.25 |  | 83.22% | 84.69% | 84.49%
Polp | 2647 | 2692 | 2701 | 2695 | 2698 | 2678 | 2671 | 2662 | 2668 | 2679 | 2663 | 2634 | 2642 | 2574 | 2555 | 2571 | 2601 | 2624 | 2647 | 2643 | 2670 | 2668 | 2675 | 2688 | 2725 | 2713 | 2701 | 2671 | 2692 | 2699 | 2689 | 2679 | 2717 | 2729 | 2701 | 2668 | 2658 | 2666 | 2648 | 2627 | 2591 | 2609 | 2609 | 2663 | 2661 | 2662 | 2662 | 2663 | 2665 | 2641 | 2627 | 2616 | 2621 | 2632 | 2574 | 2625 | 2676 | 2670 | 2673 | 2674 | 2652 | 2670 | 2677 | 2671 | 2657 | 2664 | 2658 | 2635 | 2632 | 2654 | 2679 | 2659 | 2695 | 2686 | 2641 | 2626 | 2657 | 2688 | 2668 | 2675 | 2644 | 2635 | 2648 | 2638 | 2620 | 2623 | 2659 | 2648 | 2635 | 2579 | 2583 | 2579 | 2603 | 2589 | 2606 | 2607 | 61170 | 34612.25 | 10571 | 18462.5 | 63645.75 | Polpitiya | 75 | 34612.25 | 10571 | 18462.5 |  | 114.5% | 113.7% | 113.4%
Upper Kothmale | 2100 | 1980 | 1894 | 1794 | 1750 | 1706 | 1683 | 1716 | 1636 | 1504 | 1459 | 1466 | 1463 | 1391 | 1401 | 1447 | 1484 | 1547 | 1711 | 1916 | 2144 | 2641 | 2840 | 3278 | 3635 | 3675 | 3665 | 3469 | 3283 | 3235 | 3163 | 3186 | 3110 | 3196 | 3277 | 3366 | 3345 | 3418 | 3416 | 3486 | 3467 | 3508 | 3677 | 3967 | 4045 | 4036 | 4049 | 4065 | 4077 | 4031 | 3741 | 3512 | 3339 | 3231 | 3275 | 3313 | 3465 | 3533 | 3631 | 3672 | 3658 | 3771 | 3797 | 3998 | 4086 | 4080 | 4156 | 4089 | 3888 | 4063 | 4115 | 4291 | 4393 | 4482 | 4503 | 4450 | 4368 | 4293 | 4248 | 4247 | 4108 | 4028 | 3838 | 3757 | 3639 | 3614 | 3295 | 3264 | 3097 | 3016 | 2903 | 2724 | 2612 | 2442 | 2281 | 2206 | 75643 | 47636 | 15441.25 | 13250.25 | 76327.5
Koth | 2336 | 2504 | 2524 | 2402 | 2364 | 2299 | 2285 | 2203 | 2103 | 2031 | 2079 | 1977 | 1952 | 2056 | 2113 | 2134 | 2415 | 2390 | 2620 | 2691 | 3236 | 3355 | 3501 | 3750 | 3857 | 3561 | 3081 | 2973 | 2991 | 2955 | 2994 | 2877 | 3056 | 3257 | 3422 | 3318 | 3469 | 3539 | 3502 | 3490 | 3350 | 3557 | 3605 | 3595 | 3740 | 3735 | 3733 | 3744 | 3837 | 3634 | 3477 | 3299 | 3252 | 3179 | 3302 | 3322 | 3386 | 3416 | 3529 | 3483 | 3463 | 3502 | 3591 | 3574 | 3500 | 3516 | 3460 | 3436 | 3280 | 3501 | 3706 | 3746 | 3779 | 3430 | 3392 | 3130 | 3247 | 3372 | 3267 | 3392 | 3380 | 3355 | 3389 | 3185 | 3054 | 2954 | 3126 | 2947 | 2821 | 2792 | 2779 | 2795 | 2663 | 2605 | 2626 | 2414 | 73710 | 44813 | 12700.75 | 16987.75 | 74501.5 | Kotmale | 201 | 44813 | 12700.75 | 16987.75 |  | 55.32% | 50.96% | 38.95%
Vict | 2671 | 2679 | 2586 | 2537 | 2591 | 2506 | 2491 | 2449 | 2436 | 2520 | 2466 | 2382 | 2366 | 2427 | 2443 | 2435 | 2563 | 2704 | 2768 | 2869 | 3214 | 3453 | 3916 | 4062 | 4307 | 4260 | 4046 | 3757 | 3675 | 3479 | 3342 | 3443 | 3628 | 3753 | 3666 | 3647 | 3677 | 3717 | 3910 | 3789 | 3776 | 3913 | 3927 | 4045 | 4059 | 4131 | 4042 | 4101 | 4024 | 3878 | 3725 | 3645 | 3559 | 3654 | 3753 | 3665 | 3757 | 3978 | 3978 | 3980 | 3801 | 3940 | 3986 | 3890 | 3855 | 3831 | 3718 | 3602 | 3494 | 3671 | 3858 | 4164 | 4535 | 4536 | 4503 | 4398 | 4330 | 4304 | 4244 | 4264 | 4280 | 4263 | 4086 | 4075 | 3892 | 3732 | 3681 | 3520 | 3310 | 3239 | 3317 | 3242 | 3151 | 3031 | 2963 | 2922 | 85185 | 50136.25 | 16030.25 | 19045.5 | 85212 | Victoria | 210 | 50136.25 | 16030.25 | 19045.5 |  | 59.24% | 61.56% | 41.79%
Rand | 913 | 710 | 620 | 504 | 364 | 318 | 151 | 92 | 92 | 103 | 103 | 103 | 92 | 92 | 92 | 92 | 131 | 275 | 343 | 517 | 706 | 871 | 1156 | 1562 | 1810 | 1950 | 1876 | 1662 | 1637 | 1593 | 1581 | 1407 | 1451 | 1451 | 1500 | 1517 | 1524 | 1504 | 1468 | 1473 | 1441 | 1457 | 1468 | 1525 | 1754 | 1838 | 1874 | 1850 | 1804 | 1779 | 1674 | 1641 | 1507 | 1452 | 1429 | 1395 | 1396 | 1508 | 1555 | 1597 | 1569 | 1572 | 1665 | 1775 | 1838 | 1877 | 1900 | 1772 | 1554 | 1609 | 1681 | 2188 | 3224 | 3473 | 3472 | 3450 | 3384 | 3255 | 3240 | 3106 | 2989 | 2802 | 2622 | 2613 | 2545 | 2480 | 2382 | 2219 | 1995 | 1825 | 1547 | 1450 | 1312 | 1197 | 1151 | 1025 | 36797 | 21940.75 | 11094.75 | 3741.5 | 36777 | Randenigala | 122 | 21940.75 | 11094.75 | 3741.5 |  | 44.63% | 73.34% | 14.13%
Rant | 613 | 629 | 602 | 593 | 590 | 598 | 605 | 600 | 593 | 593 | 585 | 584 | 577 | 584 | 584 | 581 | 580 | 570 | 551 | 571 | 584 | 588 | 628 | 645 | 680 | 654 | 656 | 640 | 637 | 641 | 638 | 642 | 642 | 626 | 642 | 662 | 645 | 651 | 672 | 673 | 695 | 696 | 688 | 700 | 696 | 697 | 694 | 695 | 695 | 691 | 691 | 691 | 668 | 650 | 634 | 639 | 642 | 641 | 644 | 646 | 650 | 652 | 648 | 681 | 671 | 673 | 673 | 675 | 633 | 671 | 704 | 1068 | 1500 | 1530 | 1531 | 1533 | 1533 | 1532 | 1497 | 1441 | 994 | 792 | 770 | 741 | 740 | 744 | 742 | 719 | 709 | 669 | 658 | 637 | 632 | 625 | 628 | 632 | 17515 | 9149 | 4171.75 | 4191.75 | 17512.5 | Rantambe | 49 | 9149 | 4171.75 | 4191.75 |  | 46.33% | 68.66% | 39.42%
Uku | 962 | 945 | 945 | 961 | 945 | 945 | 932 | 930 | 916 | 859 | 877 | 895 | 900 | 870 | 884 | 896 | 897 | 951 | 952 | 971 | 981 | 1000 | 1013 | 1016 | 1017 | 1018 | 1014 | 1015 | 1014 | 1016 | 1014 | 1035 | 1017 | 1017 | 1000 | 1001 | 984 | 984 | 981 | 986 | 983 | 997 | 1000 | 1000 | 1000 | 1002 | 1002 | 1016 | 1015 | 1015 | 1014 | 1013 | 1013 | 1015 | 1028 | 1031 | 1031 | 1029 | 1032 | 1028 | 1028 | 1028 | 1027 | 1029 | 1026 | 1028 | 1025 | 1027 | 998 | 1082 | 1066 | 1051 | 1059 | 1066 | 1048 | 1035 | 1034 | 1029 | 1032 | 1031 | 1031 | 1030 | 995 | 997 | 980 | 961 | 946 | 948 | 968 | 948 | 948 | 948 | 949 | 945 | 947 | 946 | 23532 | 13236.5 | 4003.25 | 6524.25 | 23764 | Ukuwela | 40 | 13236.5 | 4003.25 | 6524.25 |  | 82.11% | 80.71% | 75.16%
Bowa | 65 | 68 | 48 | 44 | 20 | 16 | 13 | 10 | 10 | 0 | 0 | 11 | 11 | 11 | 13 | 10 | 10 | 29 | 42 | 80 | 109 | 225 | 390 | 552 | 696 | 775 | 743 | 588 | 545 | 398 | 383 | 377 | 414 | 455 | 496 | 483 | 491 | 509 | 571 | 561 | 533 | 544 | 629 | 645 | 722 | 760 | 757 | 801 | 810 | 747 | 720 | 546 | 439 | 449 | 464 | 481 | 529 | 613 | 754 | 759 | 740 | 791 | 784 | 805 | 806 | 778 | 799 | 733 | 620 | 759 | 813 | 965 | 1171 | 1203 | 1185 | 1145 | 1133 | 1108 | 1068 | 1011 | 1002 | 970 | 987 | 923 | 806 | 726 | 676 | 540 | 487 | 456 | 442 | 394 | 409 | 293 | 228 | 159 | 12813 | 8474 | 3555.75 | 692.5 | 12722.25 | Bowatenna | 40 | 8474 | 3555.75 | 692.5 |  | 52.57% | 71.69% | 7.978%
Sam | 78 | 49 | 39 | 20 | 20 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 29 | 70 | 157 | 399 | 654 | 914 | 1055 | 924 | 690 | 592 | 591 | 595 | 601 | 670 | 701 | 867 | 903 | 900 | 909 | 906 | 906 | 860 | 838 | 897 | 929 | 987 | 1059 | 1130 | 1125 | 1221 | 1242 | 1187 | 1127 | 1017 | 1003 | 958 | 927 | 948 | 926 | 941 | 1032 | 974 | 988 | 1062 | 1118 | 1125 | 1108 | 1166 | 1197 | 1189 | 1253 | 1469 | 1813 | 2545 | 3105 | 3134 | 3008 | 2756 | 2670 | 2451 | 2190 | 2157 | 1946 | 1797 | 1576 | 1394 | 1197 | 827 | 702 | 569 | 439 | 312 | 259 | 168 | 118 | 111 | 89 | 21182 | 13560.75 | 7203.25 | 414.75 | 21178.75 | Upper Kotmale | 150 | 47636 | 15441.25 | 13250.25 |  | 78.8% | 83.02% | 40.71%
Kukule | 1748 | 1634 | 1605 | 1606 | 1537 | 1510 | 1511 | 1509 | 1416 | 1399 | 1408 | 1349 | 1349 | 1361 | 1375 | 1376 | 1374 | 1375 | 1428 | 1429 | 1524 | 1566 | 1616 | 1640 | 1747 | 1802 | 1865 | 1841 | 1806 | 1814 | 1829 | 1863 | 1980 | 2022 | 2042 | 2050 | 2085 | 2090 | 2121 | 2121 | 2142 | 2158 | 2181 | 2221 | 2237 | 2159 | 2172 | 2207 | 2209 | 2208 | 2230 | 2168 | 2112 | 2080 | 2154 | 2137 | 2139 | 2185 | 2203 | 2204 | 2201 | 2194 | 2199 | 2196 | 2235 | 2287 | 2286 | 2239 | 2142 | 2217 | 2240 | 2301 | 2346 | 2367 | 2369 | 2368 | 2371 | 2372 | 2343 | 2345 | 2338 | 2295 | 2284 | 2285 | 2274 | 2200 | 2152 | 2121 | 2077 | 2034 | 2034 | 1994 | 1915 | 1875 | 1813 | 1760 | 47420 | 27322.5 | 9057 | 10945 | 47324.5
LVPS 1 | 6646 | 6590 | 6532 | 6468 | 6431 | 6397 | 6396 | 6387 | 6390 | 6371 | 6347 | 6331 | 6315 | 6325 | 6321 | 6326 | 6382 | 6487 | 6597 | 6794 | 6921 | 7111 | 7269 | 7420 | 7579 | 7684 | 7791 | 7817 | 7833 | 7805 | 7804 | 7814 | 7855 | 7861 | 7849 | 7846 | 7844 | 7841 | 7840 | 7836 | 7848 | 7849 | 7850 | 7855 | 7880 | 7890 | 7916 | 7918 | 7933 | 7937 | 7930 | 7906 | 7888 | 7861 | 7848 | 7859 | 7866 | 7868 | 7898 | 7918 | 7971 | 8008 | 8023 | 8066 | 8102 | 8116 | 8125 | 8147 | 7888 | 8195 | 8254 | 8263 | 8302 | 8317 | 8324 | 8356 | 8359 | 8352 | 8357 | 8344 | 8348 | 8353 | 8353 | 8331 | 8295 | 8227 | 8142 | 7987 | 7839 | 7659 | 7475 | 7309 | 7112 | 6929 | 6795 | 6671 | 182147 | 102770.75 | 32906.5 | 46289 | 181966.25 | Samanalawewa | 120 | 13560.75 | 7203.25 | 414.75 |  | 28.04% | 48.41% | 1.593%
LVPS 2 | 4931 | 4842 | 4804 | 4791 | 4782 | 4773 | 4768 | 4777 | 4774 | 4761 | 4749 | 4748 | 4727 | 4726 | 4719 | 4727 | 4758 | 4805 | 4889 | 4985 | 5069 | 5183 | 5278 | 5390 | 5476 | 5576 | 5614 | 5629 | 5630 | 5636 | 5613 | 5625 | 5602 | 5565 | 5586 | 5539 | 5494 | 5472 | 5454 | 5447 | 5428 | 5449 | 5433 | 5441 | 5438 | 5448 | 5441 | 5440 | 5421 | 5453 | 5435 | 5434 | 5390 | 5375 | 5335 | 5325 | 5346 | 5300 | 5295 | 5306 | 5361 | 5361 | 5394 | 5426 | 5432 | 5477 | 5508 | 5529 | 5542 | 5557 | 5562 | 5599 | 5625 | 5621 | 5634 | 5625 | 5626 | 5625 | 5627 | 5622 | 5624 | 5607 | 5581 | 5540 | 5507 | 5473 | 5424 | 5332 | 5252 | 5146 | 5062 | 4978 | 4931 | 4869 | 4788 | 4731 | 127363 | 71138.25 | 22061.25 | 33861.75 | 127061.25 | Kukule | 70 | 27322.5 | 9057 | 10945 |  | 96.85% | 104.3% | 72.05%
LVPS 3 | 4125 | 4042 | 3953 | 3931 | 3884 | 3866 | 3853 | 3853 | 3850 | 3843 | 3838 | 3826 | 3826 | 3823 | 3827 | 3832 | 3862 | 3958 | 4088 | 4215 | 4354 | 4496 | 4632 | 4709 | 4769 | 4878 | 5007 | 5114 | 5129 | 5121 | 5107 | 5126 | 5156 | 5169 | 5189 | 5194 | 5200 | 5196 | 5189 | 5190 | 5180 | 5180 | 5182 | 5192 | 5199 | 5194 | 5200 | 5223 | 5223 | 5230 | 5252 | 5256 | 5261 | 5258 | 5267 | 5266 | 5276 | 5302 | 5317 | 5332 | 5337 | 5349 | 5372 | 5406 | 5443 | 5484 | 5504 | 5527 | 5559 | 5581 | 5586 | 5608 | 5644 | 5668 | 5675 | 5681 | 5707 | 5701 | 5693 | 5726 | 5757 | 5739 | 5740 | 5711 | 5656 | 5573 | 5506 | 5358 | 5215 | 5072 | 4978 | 4859 | 4750 | 4635 | 4485 | 4372 | 119674 | 68233.25 | 22377.5 | 28806 | 119416.75 | Inginiyagala | 11.25 |  |  |  |  | 0% | 0% | 0%
Sapu A | 288 | 288 | 288 | 288 | 288 | 288 | 288 | 288 | 286 | 286 | 286 | 286 | 286 | 286 | 286 | 286 | 286 | 286 | 286 | 286 | 286 | 297 | 307 | 316 | 327 | 342 | 341 | 341 | 342 | 342 | 339 | 341 | 351 | 360 | 360 | 365 | 364 | 368 | 365 | 367 | 364 | 349 | 347 | 349 | 350 | 358 | 349 | 339 | 355 | 361 | 378 | 386 | 394 | 402 | 416 | 425 | 436 | 436 | 443 | 457 | 462 | 471 | 472 | 471 | 487 | 518 | 565 | 620 | 620 | 691 | 751 | 771 | 809 | 827 | 821 | 813 | 781 | 767 | 723 | 671 | 641 | 592 | 552 | 509 | 467 | 463 | 406 | 380 | 369 | 334 | 289 | 280 | 271 | 271 | 267 | 267 | 9947 | 5616.75 | 2322.25 | 1991 | 9930 | Udawalawe | 6 |  |  |  |  | 0% | 0% | 0%
Sapu B | 436 | 434 | 429 | 429 | 429 | 429 | 427 | 417 | 419 | 418 | 418 | 418 | 418 | 411 | 411 | 411 | 411 | 436 | 434 | 435 | 449 | 465 | 498 | 538 | 585 | 665 | 688 | 697 | 692 | 707 | 725 | 735 | 761 | 786 | 806 | 826 | 828 | 827 | 837 | 870 | 913 | 913 | 935 | 957 | 950 | 980 | 983 | 974 | 961 | 958 | 928 | 946 | 965 | 971 | 953 | 956 | 976 | 978 | 975 | 976 | 982 | 985 | 1003 | 1019 | 1030 | 1046 | 1067 | 1096 | 1092 | 1157 | 1190 | 1232 | 1252 | 1259 | 1256 | 1264 | 1247 | 1248 | 1239 | 1226 | 1217 | 1170 | 1158 | 1164 | 1120 | 995 | 922 | 875 | 763 | 712 | 705 | 646 | 533 | 496 | 492 | 471 | 19471 | 11907.25 | 4394 | 3181.75 | 19483 | Nilambe | 3.2 |  |  |  |  | 0% | 0% | 0%
Uthuru Janani | 69 | 54 | 56 | 56 | 56 | 55 | 44 | 39 | 39 | 32 | 31 | 30 | 23 | 24 | 24 | 30 | 40 | 47 | 56 | 67 | 79 | 96 | 140 | 161 | 200 | 217 | 221 | 222 | 223 | 224 | 220 | 216 | 226 | 239 | 266 | 306 | 331 | 337 | 337 | 341 | 342 | 342 | 328 | 328 | 325 | 319 | 336 | 334 | 342 | 355 | 353 | 362 | 350 | 358 | 347 | 350 | 361 | 367 | 361 | 370 | 379 | 406 | 416 | 415 | 437 | 438 | 447 | 455 | 437 | 455 | 488 | 509 | 540 | 581 | 603 | 608 | 581 | 557 | 519 | 521 | 487 | 451 | 397 | 395 | 367 | 287 | 241 | 190 | 177 | 165 | 163 | 103 | 86 | 84 | 71 | 72 | 6480 | 4440 | 1636.5 | 406.5 | 6483 | [9 empty] | //Paste the sorted list of energy cost from Sheet 2 | [5 empty] | Day)0530-1830Hrs) | Peak (1830-2230Hrs) | Off-peak(2230-0530Hrs)
Barge | 290 | 250 | 235 | 228 | 230 | 230 | 227 | 224 | 220 | 211 | 203 | 230 | 249 | 260 | 271 | 270 | 268 | 303 | 350 | 379 | 431 | 499 | 608 | 690 | 774 | 822 | 863 | 893 | 904 | 916 | 916 | 919 | 932 | 936 | 979 | 1029 | 1064 | 1086 | 1130 | 1166 | 1176 | 1169 | 1156 | 1156 | 1159 | 1137 | 1130 | 1115 | 1089 | 1081 | 1090 | 1093 | 1101 | 1118 | 1118 | 1117 | 1107 | 1123 | 1128 | 1142 | 1162 | 1178 | 1220 | 1281 | 1324 | 1353 | 1409 | 1438 | 1416 | 1515 | 1553 | 1591 | 1653 | 1709 | 1725 | 1736 | 1731 | 1690 | 1690 | 1610 | 1573 | 1543 | 1515 | 1489 | 1366 | 1309 | 1165 | 912 | 816 | 690 | 665 | 608 | 518 | 479 | 363 | 306 | 22721 | 14733.5 | 5640 | 2249.25 | 22622.75 | Mahawali Complex | 662 | 147749.5 | 51556.5 | 51183.25 | Mahawali Complex | 55.38% | 62.81% | 35.63% | 0 | Mahawali Complex | 147749.5 | 51556.5 | 51183.25 | Mahawali Complex | 55.38% | 62.81% | 35.63%
KCCP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 38 | 69 | 77 | 75 | 78 | 112 | 117 | 168 | 208 | 236 | 243 | 254 | 258 | 260 | 266 | 293 | 293 | 368 | 439 | 444 | 475 | 500 | 527 | 504 | 568 | 604 | 610 | 611 | 627 | 704 | 664 | 666 | 651 | 655 | 658 | 676 | 668 | 667 | 665 | 661 | 672 | 700 | 702 | 708 | 699 | 696 | 726 | 927 | 938 | 849 | 797 | 676 | 660 | 490 | 442 | 462 | 409 | 326 | 227 | 242 | 259 | 214 | 201 | 156 | 122 | 44 | 31 | 35 | 0 | 0 | 7586 | 5624.5 | 1837 | 58 | 7519.5 | Laxapana Complex | 354.5 | 115183.5 | 36046.75 | 59147.5 | Laxapana Complex | 80.62% | 82% | 76.89% | 0 | Laxapana Complex | 115183.5 | 36046.75 | 59147.5 | Laxapana Complex | 80.62% | 82% | 76.89%
ACE EMBP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Upper Kotmale | 150 | 47636 | 15441.25 | 13250.25 | Upper Kotmale | 78.8% | 83.02% | 40.71% | 0 | Upper Kotmale | 47636 | 15441.25 | 13250.25 | Upper Kotmale | 78.8% | 83.02% | 40.71%
ACE Matara | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Samanalawewa | 120 | 13560.75 | 7203.25 | 414.75 | Samanalawewa | 28.04% | 48.41% | 1.593% | 0 | Samanalawewa | 13560.75 | 7203.25 | 414.75 | Samanalawewa | 28.04% | 48.41% | 1.593%
Asia Power | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Kukule | 70 | 27322.5 | 9057 | 10945 | Kukule | 96.85% | 104.3% | 72.05% | 0 | Kukule | 27322.5 | 9057 | 10945 | Kukule | 96.85% | 104.3% | 72.05%
WCP | 243 | 180 | 166 | 140 | 140 | 140 | 140 | 140 | 140 | 137 | 138 | 138 | 137 | 137 | 137 | 138 | 138 | 159 | 190 | 240 | 278 | 425 | 590 | 673 | 742 | 753 | 750 | 770 | 893 | 969 | 1032 | 1149 | 1315 | 1341 | 1466 | 1564 | 1621 | 1680 | 1727 | 1809 | 1962 | 1998 | 2061 | 2106 | 2105 | 2095 | 2080 | 2086 | 2124 | 2171 | 2202 | 2207 | 2170 | 2169 | 2120 | 2134 | 2137 | 2192 | 2254 | 2260 | 2346 | 2538 | 2735 | 2939 | 3212 | 3490 | 3689 | 3903 | 3869 | 4397 | 4597 | 4958 | 5226 | 5341 | 5364 | 5394 | 5150 | 4836 | 4437 | 3957 | 3715 | 3433 | 3020 | 2599 | 2264 | 1930 | 1529 | 1337 | 956 | 726 | 357 | 210 | 165 | 122 | 123 | 122 | 42002 | 29179.25 | 12661.75 | 1230 | 43071 | [9 empty] | 8.9045 | Puttalam Coal I | 102770.75 | 32906.5 | 46289 | Puttalam Coal I | 94.45% | 98.29% | 79%
Sojitz CCP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 58 | 60 | 84 | 95 | 133 | 156 | 158 | 157 | 156 | 156 | 157 | 157 | 157 | 157 | 193 | 198 | 194 | 194 | 193 | 205 | 211 | 257 | 312 | 349 | 360 | 365 | 371 | 410 | 386 | 404 | 423 | 458 | 474 | 474 | 474 | 513 | 531 | 526 | 533 | 536 | 560 | 581 | 607 | 640 | 680 | 717 | 825 | 858 | 876 | 905 | 917 | 870 | 813 | 751 | 603 | 553 | 496 | 416 | 365 | 291 | 178 | 144 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6071 | 4432.25 | 1829.5 | 0 | 6261.75 | Puttalam Coal I | 270 | 102770.75 | 32906.5 | 46289 | Puttalam Coal I | 94.45% | 98.29% | 79% | 8.9045 | Puttalam Coal II | 71138.25 | 22061.25 | 33861.75 | Puttalam Coal II | 65.38% | 65.89% | 57.79%
KPS(GT7) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -1 | -1 | 0 | -4 | 39 | 180 | 268 | 356 | 470 | 740 | 983 | 930 | 755 | 550 | 319 | 218 | 193 | 193 | 193 | 138 | 78 | 52 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1642 | 757 | 905.75 | 0 | 1662.75 | Puttalam Coal II | 270 | 71138.25 | 22061.25 | 33861.75 | Puttalam Coal II | 65.38% | 65.89% | 57.79% | 8.9045 | Puttalam Coal III | 68233.25 | 22377.5 | 28806 | Puttalam Coal III | 62.71% | 66.84% | 49.17%
KPS(GT) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -1 | -1 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 4 | 3 | 32 | 119 | 182 | 164 | 115 | 66 | 32 | 33 | 33 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 212 | 91 | 114.75 | -1 | 204.75 | Puttalam Coal III | 270 | 68233.25 | 22377.5 | 28806 | Puttalam Coal III | 62.71% | 66.84% | 49.17% | 16.5364 | Barge CEB | 14733.5 | 5640 | 2249.25 | Barge CEB | 60.93% | 75.81% | 17.28%
KPS_DPP_THUL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 30 | 54 | 86 | 118 | 62 | 54 | 46 | 38 | 22 | 22 | 14 | 14 | 7 | 7 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 146 | 46.5 | 102.75 | 0 | 149.25 | [9 empty] | 18.2449 | KCCP | 5624.5 | 1837 | 58 | KCCP | 8.669% | 9.202% | 0.166%
KPS_DPP_MATU | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 48 | 48 | 48 | 48 | 48 | 32 | 16 | 16 | 14 | 28 | 62 | 169 | 234 | 129 | 89 | 98 | 82 | 47 | 44 | 44 | 28 | 14 | 14 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 471 | 252.25 | 209.25 | 0 | 461.5 | Uthura Janani | 26.01 | 4440 | 1636.5 | 406.5 | Uthura Janani | 42.36% | 50.74% | 7.202% | 18.5807 | Sapugaskanda B | 11907.25 | 4394 | 3181.75 | Sapugaskanda B | 42.45% | 50.91% | 21.07%
KPS_DPP_KOLO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14 | 28 | 77 | 181 | 224 | 112 | 96 | 96 | 76 | 44 | 44 | 44 | 30 | 14 | 14 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 279 | 75 | 202 | 0 | 277 | Sapugaskanda B | 69.6 | 11907.25 | 4394 | 3181.75 | Sapugaskanda B | 42.45% | 50.91% | 21.07% | 18.9145 | Uthura Janani | 4440 | 1636.5 | 406.5 | Uthura Janani | 42.36% | 50.74% | 7.202%
VPOWER Hamb. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Sapugaskanda A | 69.6 | 5616.75 | 2322.25 | 1991 | Sapugaskanda A | 20.02% | 26.91% | 13.18% | 19.7358 | Westcoast | 29179.25 | 12661.75 | 1230 | Westcoast | 26.82% | 37.82% | 2.099%
VPOWER Valach. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25 | 48 | 99 | 74 | 75 | 74 | 75 | 49 | 25 | 25 | 25 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 152 | 43 | 111.5 | 0 | 154.5 | Barge CEB | 60 | 14733.5 | 5640 | 2249.25 | Barge CEB | 60.93% | 75.81% | 17.28% | 20.9784 | Sapugaskanda A | 5616.75 | 2322.25 | 1991 | Sapugaskanda A | 20.02% | 26.91% | 13.18%
VPOWER Galle | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | KCCP | 161 | 5624.5 | 1837 | 58 | KCCP | 8.669% | 9.202% | 0.166% | 24.9192 | AES - Kelanitissa | 4432.25 | 1829.5 | 0 | AES - Kelanitissa | 6.747% | 9.052% | 0%
VPOWER Horona | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | KPS GT 7 | 113 | 757 | 905.75 | 0 | KPS GT 7 | 1.662% | 6.464% | 0% | 25.7209 | Vpower-Valach. | 43 | 111.5 | 0 | Vpower-Valach. | 0.4446% | 3.747% | 0%
Solar** | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 46 | 90 | 139 | 194 | 240 | 298 | 316 | 379 | 439 | 482 | 526 | 540 | 547 | 610 | 626 | 616 | 658 | 746 | 636 | 646 | 679 | 647 | 606 | 602 | 604 | 597 | 629 | 636 | 604 | 598 | 571 | 570 | 500 | 468 | 416 | 373 | 366 | 306 | 249 | 199 | 142 | 108 | 71 | 47 | 21 | 5 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7857 | 4851.5 | 0 | 0 | 4851.5 | KPS Small GTs | 65.2 | 91 | 114.75 | -1 | KPS Small GTs | 0.3463% | 1.419% | -0.007068% | 44.7526 | CEB-Kolonnawa | 75 | 202 | 0 | CEB-Kolonnawa | 0.9305% | 8.145% | 0%
Wind ** | 2107 | 2076 | 2121 | 2161 | 2142 | 2075 | 2042 | 1973 | 1979 | 1983 | 1972 | 2001 | 2017 | 1994 | 1976 | 1971 | 1935 | 1946 | 1998 | 1973 | 1922 | 1918 | 1841 | 1802 | 1744 | 1753 | 1720 | 1705 | 1748 | 1722 | 1730 | 1680 | 1679 | 1680 | 1770 | 1760 | 1670 | 1630 | 1606 | 1593 | 1584 | 1633 | 1657 | 1724 | 1697 | 1681 | 1702 | 1733 | 1780 | 1901 | 1917 | 1931 | 1899 | 2041 | 1991 | 2027 | 2093 | 2103 | 2095 | 2028 | 2064 | 2037 | 1999 | 2043 | 2057 | 2035 | 2002 | 2014 | 1980 | 1983 | 2085 | 2102 | 2076 | 2064 | 2054 | 2083 | 2075 | 2078 | 2101 | 2064 | 2038 | 1977 | 2035 | 2020 | 2054 | 2076 | 2143 | 2140 | 2105 | 2098 | 2101 | 2124 | 2123 | 2155 | 2129 | 2092 | 59525 | 24147.75 | 8285.25 | 14251.5 | 46684.5 | CEB-Thulhiriya | 10 | 46.5 | 102.75 | 0 | CEB-Thulhiriya | 1.154% | 8.286% | 0% | 44.8822 | CEB-Thulhiriya | 46.5 | 102.75 | 0 | CEB-Thulhiriya | 1.154% | 8.286% | 0%
BMP** | 268 | 267 | 269 | 267 | 267 | 276 | 273 | 270 | 270 | 272 | 269 | 263 | 267 | 271 | 271 | 267 | 258 | 264 | 268 | 264 | 261 | 258 | 255 | 257 | 261 | 260 | 263 | 260 | 259 | 262 | 266 | 269 | 267 | 263 | 267 | 266 | 265 | 266 | 265 | 260 | 260 | 265 | 271 | 274 | 263 | 256 | 261 | 265 | 268 | 272 | 270 | 272 | 270 | 273 | 272 | 269 | 270 | 268 | 268 | 272 | 271 | 268 | 268 | 272 | 269 | 269 | 272 | 271 | 267 | 272 | 271 | 274 | 278 | 282 | 272 | 271 | 269 | 269 | 268 | 271 | 275 | 274 | 272 | 279 | 272 | 271 | 274 | 276 | 277 | 281 | 280 | 275 | 273 | 275 | 270 | 270 | 6441 | 3473.5 | 1092.75 | 1880.75 | 6447 | CEB-Mathugama | 20 | 252.25 | 209.25 | 0 | CEB-Mathugama | 3.13% | 8.438% | 0% | 44.8957 | CEB-Mathugama | 252.25 | 209.25 | 0 | CEB-Mathugama | 3.13% | 8.438% | 0%
CEB/IPP Mini Hydro*** | 2974 | 2979 | 2982 | 2894 | 2902 | 2987 | 2976 | 2945 | 2978 | 2971 | 2961 | 2945 | 2959 | 2956 | 2942 | 2935 | 2896 | 2867 | 2825 | 2766 | 2724 | 2638 | 2578 | 2508 | 2474 | 2431 | 2429 | 2445 | 2437 | 2411 | 2421 | 2429 | 2419 | 2394 | 2360 | 2314 | 2293 | 2301 | 2315 | 2331 | 2347 | 2375 | 2373 | 2349 | 2348 | 2269 | 2282 | 2290 | 2283 | 2262 | 2277 | 2324 | 2353 | 2337 | 2372 | 2366 | 2400 | 2378 | 2378 | 2389 | 2416 | 2389 | 2383 | 2399 | 2394 | 2413 | 2443 | 2450 | 2451 | 2449 | 2447 | 2434 | 3093 | 3073 | 3080 | 3068 | 3107 | 3096 | 3119 | 3109 | 3072 | 3089 | 3133 | 3159 | 3169 | 3167 | 3157 | 3152 | 3146 | 2832 | 2859 | 2877 | 2877 | 2941 | 2951 | 2971 | 65985 | 31319 | 12413.75 | 20369.5 | 64102.25 | CEB-Kolonnawa | 20 | 75 | 202 | 0 | CEB-Kolonnawa | 0.9305% | 8.145% | 0% | 47.1232 | KPS GT 7 | 757 | 905.75 | 0 | KPS GT 7 | 1.662% | 6.464% | 0%
Total MW | 42302 | 41758 | 41274 | 40647 | 40214 | 39860 | 39547 | 39217 | 38881 | 38632 | 38515 | 38271 | 38206 | 38221 | 38301 | 38436 | 39056 | 39865 | 40883 | 42131 | 44146 | 46146 | 48447 | 50603 | 52793 | 53460 | 52972 | 51956 | 51705 | 51283 | 51217 | 51196 | 52088 | 52776 | 53503 | 53626 | 53792 | 54031 | 54326 | 54418 | 54383 | 55019 | 55584 | 56297 | 56989 | 57144 | 57374 | 57605 | 57849 | 57552 | 56864 | 56137 | 55368 | 55188 | 55306 | 55393 | 56028 | 56574 | 57074 | 57250 | 57267 | 57883 | 58447 | 59135 | 59610 | 60095 | 60483 | 60552 | 59152 | 61594 | 63092 | 66052 | 71166 | 73121 | 73120 | 71854 | 70759 | 69614 | 68273 | 66719 | 65419 | 63949 | 62524 | 60979 | 59269 | 57606 | 55897 | 53884 | 51884 | 49921 | 48588 | 47333 | 46003 | 44914 | 43928 | 42933 | 1288153 | 703265.5 | 237995 | 269145.25 | [10 empty] | 131.3799 | KPS Small GTs | 91 | 114.75 | -1 | KPS Small GTs | 0.3463% | 1.419% | -0.007068%
[102 empty] | Asia Power | 50.8 | 0 | 0 | 0 | Asia Power | 0% | 0% | 0% | [5 empty] | CEB-Kolonnawa | #N/A | #N/A | #N/A
[102 empty] | Westcoast | 270 | 29179.25 | 12661.75 | 1230 | Westcoast | 26.82% | 37.82% | 2.099% | [5 empty] | CEB-Mathugama | #N/A | #N/A | #N/A
[102 empty] | AES - Kelanitissa | 163 | 4432.25 | 1829.5 | 0 | AES - Kelanitissa | 6.747% | 9.052% | 0% | [5 empty] | KPS Small GTs | #N/A | #N/A | #N/A
[97 empty] | Total without NCRE | 670792.75 | 228617 | 253013 |  | ACE Embilipitiya | 100 | 0 | 0 | 0 | ACE Embilipitiya | 0% | 0% | 0% |  |  | #N/A | #N/A | #N/A
[97 empty] | Verification | 670792.75 | 228617 | 253013 |  | ACE Matara | 20 | 0 | 0 | 0 | ACE Matara | 0% | 0% | 0% |  |  | #N/A | #N/A | #N/A
[102 empty] | Vpower-Valach. | 24 | 43 | 111.5 | 0 | Vpower-Valach. | 0.4446% | 3.747% | 0% |  |  | #N/A | #N/A | #N/A
[102 empty] | Vpower-Galle | 10 |  |  |  | Vpower-Galle | 0% | 0% | 0% |  |  | #N/A | #N/A | #N/A
[102 empty] | Vpower-Hamba. | 24 |  |  |  | Vpower-Hamba. | 0% | 0% | 0% |  |  | #N/A | #N/A | #N/A
[102 empty] | V Power-Valachchena | 24 |  |  |  | V Power-Valachchena | 0% | 0% | 0%
[102 empty] | Altaaqa-Mahiya. | 10 |  |  |  | Altaaqa-Mahiya.
[102 empty] | Altaaqa-Polon. | 8 |  |  |  | Altaaqa-Polon.
[103 empty] | 3484.71 | 670792.75 | 228617 | 253013
Summary
[102 empty] | Hydro | 1356.5 | 351452.25 | 119304.75 | 134940.75
[102 empty] | Coal | 810 | 242142.25 | 77345.25 | 108956.75
[102 empty] | CEB-Oil | 574.41 | 43216.5 | 16953 | 7885.5
[102 empty] | IPP-Oil | 703.8 | 33654.5 | 14602.75 | 1230
Summary PFs
[102 empty] | Hydro |  | 52.39% | 52.19% | 53.33%
[102 empty] | Coal |  | 36.1% | 33.83% | 43.06%
[102 empty] | CEB-Oil |  | 6.443% | 7.415% | 3.117%
[102 empty] | IPP-Oil |  | 5.017% | 6.387% | 0.4861%
Summary-Daily
[102 empty] | Hydro |  | 11715.075 | 3976.825 | 4498.025
[102 empty] | Coal |  | 8071.4083 | 2578.175 | 3631.8917
[102 empty] | CEB-Oil |  | 1440.55 | 565.1 | 262.85
[102 empty] | IPP-Oil |  | 1121.8167 | 486.7583 | 41

## Sheet2
List of Energy cost
| Puttalam Coal I | 6.8818 | 6.8409 | 6.7909 | 6.8065 | 6.7909 | 6.9895 | 0 | SLR/kWh | 8.9767 | 8.8858 | 8.9045 | 9.1187 | 9.1824 | 8.9767 | Puttalam Coal I | 9.1187 |  |  | ACE Matara | 0
| Puttalam Coal II | 6.8818 | 6.8409 | 6.7909 | 6.8065 | 6.7909 | 6.9895 | 0 | SLR/kWh | 8.9767 | 8.8858 | 8.9045 | 9.1187 | 9.1824 | 8.9767 | Puttalam Coal II | 9.1187 |  |  | Asia Power | 0
| Puttalam Coal III | 6.8818 | 6.8409 | 6.7909 | 6.8065 | 6.7909 | 6.9895 | 0 | SLR/kWh | 8.9767 | 8.8858 | 8.9045 | 9.1187 | 9.1824 | 8.9767 | Puttalam Coal III | 9.1187 |  |  | Northern Power | 0
| Barge CEB | 16.45 | 16.6375 | 16.45 | 16.5083 | 16.45 | 16.5083 | 0 | SLR/kWh | 16.4563 | 16.4563 | 16.5364 | 16.4563 | 16.5148 | 16.9246 | KPS Small GTs | 78.1507 |  |  | ACE Embilipitiya | 0
| Sapugaskanda B | 18.4181 | 18.7415 | 18.4181 | 18.5187 | 18.4181 | 18.5187 | 0 | SLR/kWh | 18.4382 | 18.4814 | 18.5807 | 18.4382 | 18.5511 | 18.4382 | KPS GT 7 | 45.1706 |  |  | Vpower-Pallekele | 0
| Uthura Janani | 17.6993 | 17.8102 | 17.4464 | 17.5145 | 17.554 | 17.6984 | 0 | SLR/kWh | 17.5018 | 17.672 | 18.9145 | 18.5368 | 18.6963 | 17.5018 | KCCP | 18.3508 |  |  | Vpower-Galle | 0
| KCCP | 18.5111 | 18.2812 | 18.6603 | 18.5671 | 18.32 | 18.2889 | 0 | SLR/kWh | 23.2341 | 18.6854 | 18.2449 | 18.3508 | 18.4087 | 18.0406 | Sapugaskanda A | 20.821 |  |  | Vpower-Hamba. | 0
| Sapugaskanda A | 20.7312 | 21.2272 | 20.7312 | 20.8855 | 20.7312 | 20.8855 | 0 | SLR/kWh | 20.821 | 20.821 | 20.9784 | 20.821 | 20.9784 | 20.821 | Sapugaskanda B | 18.4382 |  |  | Altaaqa-Mahiya. | 0
| Westcoast | 19.3094 | 19.4726 | 19.3505 | 19.3791 | 19.4061 | 19.4216 | 0 | SLR/kWh | 19.5966 | 19.7358 | 0 | 19.6031 | 19.679 | 19.6095 | Uthura Janani | 18.5368 |  |  | Puttalam Coal I | 9.1187
| ACE Matara | 20.479 | 20.6297 | 20.3572 | 20.2279 | 20.5144 | 20.8052 | 0 | SLR/kWh | 0 | 0 | 0 | 0 | 0 | 0 | Barge CEB | 16.4563 |  |  | Puttalam Coal II | 9.1187
| ACE Embilipitiya | 19.9682 | 20.0051 | 19.9628 | 19.8154 | 19.928 | 20.0201 | 0 | SLR/kWh | 0 | 0 | 0 | 0 | 0 | 0 | CEB-Thulhiriya | 39.0412 |  |  | Puttalam Coal III | 9.1187
| Asia Power | 20.0814 | 20.1818 | 20.3752 | 20.382 | 20.5763 | 20.3356 | 0 | SLR/kWh | 0 | 0 | 0 | 0 | 0 | 0 | CEB-Kolonnawa | 38.9116 |  |  | Barge CEB | 16.4563
| AES - Kelanitissa | 24.262 | 24.2698 | 24.2635 | 24.1215 | 24.3485 | 24.3206 | 0 | SLR/kWh | 30.7666 | 27.8403 | 24.9192 | 24.067 | 23.6427 | 24.0588 | CEB-Mathugama | 39.0547 |  |  | KCCP | 18.3508
| Vpower-Valach. | 25.9346 | 25.8812 | 25.8178 | 25.8178 | 25.8178 | 25.8178 | 0 | SLR/kWh | 25.9252 | 26.0709 | 25.7209 | 25.9104 | 0 | 0 | ACE Matara | 0 |  |  | Sapugaskanda B | 18.4382
| Vpower-Hamba. | [14 empty] | Asia Power | 0 |  |  | Uthura Janani | 18.5368
| Vpower-Pallekele | [14 empty] | AES - Kelanitissa | 24.067 |  |  | Westcoast | 19.6031
| Vpower-Galle | [14 empty] | Westcoast | 19.6031 |  |  | Sapugaskanda A | 20.821
| Altaaqa-Polon. | [14 empty] | Northern Power | 0 |  |  | AES - Kelanitissa | 24.067
| Altaaqa-Mahiya. | [14 empty] | ACE Embilipitiya | 0 |  |  | Vpower-Valach. | 25.9104
| CEB-Thulhiriya | 0 | 123.8111 | 190.5348 | 47.2368 | 0 | 60.5823 | 0 | SLR/kWh | 88.6087 | 104.8618 | 44.8822 | 39.0412 | 44.5547 | 46.0204 | Vpower-Pallekele | 0 |  |  | CEB-Kolonnawa | 38.9116
| CEB-Kolonnawa | 0 | 124.8511 | 191.5748 | 48.2768 | 0 | 61.6223 | 0 | SLR/kWh | 88.4791 | 104.7322 | 44.7526 | 38.9116 | 44.4251 | 45.8908 | Vpower-Galle | 0 |  |  | CEB-Thulhiriya | 39.0412
| CEB-Mathugama | 0 | 124.8511 | 191.5748 | 48.2768 | 0 | 61.6223 | 0 | SLR/kWh | 88.6222 | 104.8753 | 44.8957 | 39.0547 | 44.5682 | 46.0339 | Vpower-Hamba. | 0 |  |  | CEB-Mathugama | 39.0547
| KPS GT 7 | 0 | 136.2173 | 270.5405 | 0 | 0 | 60.9283 | 0 | SLR/kWh | 88.809 | 106.7059 | 47.1232 | 45.1706 | 46.825 | 50.0672 | Vpower-Horana | #N/A |  |  | KPS GT 7 | 45.1706
| KPS Small GTs | 0 | 0 | 0 | 0 | 0 | 305.1402 | 0 | SLR/kWh | 1815.1056 | 282.029 | 131.3799 | 78.1507 | 88.8641 | 115.1806 | Altaaqa-Mahiya. | 0 |  |  | KPS Small GTs | 78.1507
| Northern Power | [14 empty] | Vpower-Valach. | 25.9104 |  |  | Vpower-Horana | #N/A
[16 empty] | Renewables | #N/A |  |  | Renewables | #N/A
Plant\Month | Unit | 2021-01-21 | feb | mar | apr | may | jun | Plant\Month | Unit | 2021-07-01 | 2021-08-01 | 2021-09-01 | 2021-10-01 | 2021-11-01 | 2021-12-01 |  |  | 0 | ACE Matara
Mahaweli | GWh | 330.9007 | 261.0002 | 351.0104 | 221.5401 | 307.4011 | 399.5005 | Mahaweli | GWh | 429.873 | 314.336 | 421.6222 | 436.8 | 413.772 | 362.6894 |  |  | 0 | ACE Embilipitiya
| SLR/kWh | [7 empty] | SLR/kWh | [8 empty] | 0 | Asia Power
Laxapana | GWh | [6 empty] | Laxapana | GWh | [8 empty] | 8.9045 | Puttalam Coal I
| SLR/kWh | [7 empty] | SLR/kWh | [8 empty] | 8.9045 | Puttalam Coal II
Samanala | GWh | [6 empty] | Samanala | GWh | [8 empty] | 8.9045 | Puttalam Coal III
| SLR/kWh | [7 empty] | SLR/kWh | [8 empty] | 16.5364 | Barge CEB
[8 empty] | Mananr wind | GWh | 39.3 | 49.5 | 42.5 | 17.5 | 13.1 | 17.9 |  |  | 18.2449 | KCCP
[9 empty] | SLR/kWh | [8 empty] | 18.5807 | Sapugaskanda B
DSP1 | GWh | 30.355 | 27.418 | 30.355 | 29.376 | 30.355 | 29.376 | DSP1 | GWh | 30.355 | 30.355 | 29.376 | 30.355 | 29.376 | 30.355 |  |  | 18.9145 | Uthura Janani
| SLR/kWh | 20.7312 | 21.2272 | 20.7312 | 20.8855 | 20.7312 | 20.8855 |  | SLR/kWh | 20.821 | 20.821 | 20.9784 | 20.821 | 20.9784 | 20.821 |  |  | 19.7358 | Westcoast
DSP2 | GWh | 38.167 | 34.473 | 38.167 | 36.936 | 38.167 | 36.936 | DSP2 | GWh | 38.167 | 37.631 | 36.457 | 38.167 | 36.799 | 38.167 |  |  | 20.9784 | Sapugaskanda A
| SLR/kWh | 18.4181 | 18.7415 | 18.4181 | 18.5187 | 18.4181 | 18.5187 |  | SLR/kWh | 18.4382 | 18.4814 | 18.5807 | 18.4382 | 18.5511 | 18.4382 |  |  | 24.9192 | AES - Kelanitissa
GT16 | GWh | 0 | 0 | 0 | 0 | 0 | 0.087545 | GT16 | GWh | 0.012817 | 0.097658 | 0.27833 | 0.80368 | 0.58242 | 0.34745 |  |  | 25.7209 | Vpower-Valach.
| SLR/kWh | 0 | 0 | 0 | 0 | 0 | 305.1402 |  | SLR/kWh | 1815.1056 | 282.029 | 131.3799 | 78.1507 | 88.8641 | 115.1806 |  |  | 44.7526 | CEB-Kolonnawa
GT07 | GWh | 0 | 0.31216 | 0.13387 | 0 | 0 | 1.3393 | GT07 | GWh | 0.58904 | 0.45651 | 3.3553 | 4.7301 | 3.8687 | 2.8512 |  |  | 44.8822 | CEB-Thulhiriya
| SLR/kWh | 0 | 136.2173 | 270.5405 | 0 | 0 | 60.9283 |  | SLR/kWh | 88.809 | 106.7059 | 47.1232 | 45.1706 | 46.825 | 50.0672 |  |  | 44.8957 | CEB-Mathugama
CCKP | GWh | 76.941 | 72.367 | 74.064 | 78.943 | 69.4284 | 72.2852 | CCKP | GWh | 9.7399 | 40.692 | 55.327 | 63.1945 | 56.4525 | 66.401 |  |  | 47.1232 | KPS GT 7
| SLR/kWh | 18.5111 | 18.2812 | 18.6603 | 18.5671 | 18.32 | 18.2889 |  | SLR/kWh | 23.2341 | 18.6854 | 18.2449 | 18.3508 | 18.4087 | 18.0406 |  |  | 131.3799 | KPS Small GTs
CPUT | GWh | 444.756 | 480.09 | 531.54 | 514.38 | 531.54 | 372.663 | CPUT | GWh | 444.756 | 531.54 | 511.02 | 354.36 | 342.81 | 444.756 |  |  |  | Vpower-Hamba.
| SLR/kWh | 6.8818 | 6.8409 | 6.7909 | 6.8065 | 6.7909 | 6.9895 |  | SLR/kWh | 8.9767 | 8.8858 | 8.9045 | 9.1187 | 9.1824 | 8.9767 |  |  |  | Vpower-Pallekele
DNCHU | GWh | 13.508 | 12.886 | 15.177 | 14.688 | 14.419 | 13.513 | DNCHU | GWh | 15.177 | 14.04 | 9.0763 | 10.169 | 9.677 | 15.177 |  |  |  | Vpower-Galle
| SLR/kWh | 17.6993 | 17.8102 | 17.4464 | 17.5145 | 17.554 | 17.6984 |  | SLR/kWh | 17.5018 | 17.672 | 18.9145 | 18.5368 | 18.6963 | 17.5018 |  |  |  | Altaaqa-Polon.
Island Gen | GWh | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | Island Gen | GWh | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 |  |  |  | Altaaqa-Mahiya.
| SLR/kWh | 34.6283 | 34.6283 | 34.6283 | 34.6283 | 34.6283 | 34.6283 |  | SLR/kWh | 36.7283 | 36.7283 | 36.7283 | 36.7283 | 36.7283 | 36.7283 |  |  |  | Northern Power
BARGE | GWh | 38.167 | 34.473 | 38.167 | 36.936 | 38.167 | 36.936 | BARGE | GWh | 38.167 | 38.167 | 36.501 | 38.167 | 36.936 | 30.132
| SLR/kWh | 16.45 | 16.6375 | 16.45 | 16.5083 | 16.45 | 16.5083 |  | SLR/kWh | 16.4563 | 16.4563 | 16.5364 | 16.4563 | 16.5148 | 16.9246
50MW Thulhiriya | GWh | 0 | 0.056284 | 0.033314 | 0.26968 | 0 | 0.16238 | 50MW Thulhiriya | GWh | 0.093164 | 0.072898 | 0.3696 | 0.61228 | 0.378 | 0.3431
| SLR/kWh | 0 | 123.8111 | 190.5348 | 47.2368 | 0 | 60.5823 |  | SLR/kWh | 88.6087 | 104.8618 | 44.8822 | 39.0412 | 44.5547 | 46.0204
50MW Kolonnawa | GWh | 0 | 0.11257 | 0.066628 | 0.53936 | 0 | 0.32476 | 50MW Kolonnawa | GWh | 0.18633 | 0.1458 | 0.7392 | 1.2246 | 0.756 | 0.6862
| SLR/kWh | 0 | 124.8511 | 191.5748 | 48.2768 | 0 | 61.6223 |  | SLR/kWh | 88.4791 | 104.7322 | 44.7526 | 38.9116 | 44.4251 | 45.8908
50MW Mathugama | GWh | 0 | 0.11257 | 0.066628 | 0.53936 | 0 | 0.32476 | 50MW Mathugama | GWh | 0.18633 | 0.1458 | 0.7392 | 1.2246 | 0.756 | 0.6862
| SLR/kWh | 0 | 124.8511 | 191.5748 | 48.2768 | 0 | 61.6223 |  | SLR/kWh | 88.6222 | 104.8753 | 44.8957 | 39.0547 | 44.5682 | 46.0339
CCKW | GWh | 180.79 | 163.3 | 180.79 | 174.96 | 177.93 | 174.96 | CCKW | GWh | 177.06 | 159.87 | 0 | 178.61 | 166.86 | 177.29
| SLR/kWh | 19.3094 | 19.4726 | 19.3505 | 19.3791 | 19.4061 | 19.4216 |  | SLR/kWh | 19.5966 | 19.7358 | 0 | 19.6031 | 19.679 | 19.6095
Sojitz | GWh | 44.158 | 48.758 | 40.866 | 57.909 | 34.5 | 26.365 | Sojitz | GWh | 6.1995 | 8.6857 | 31.034 | 39.083 | 58.661 | 30.1
| SLR/kWh | 24.262 | 24.2698 | 24.2635 | 24.1215 | 24.3485 | 24.3206 |  | SLR/kWh | 30.7666 | 27.8403 | 24.9192 | 24.067 | 23.6427 | 24.0588
130MW Supplementary Power | GWh | 1.7114 | 3.1532 | 9.7389 | 19.656 | 2.2132 | 9.626 | V power valachchenei | GWh | 0.58614 | 0.41075 | 1.461 | 0.61283 | 0 | 0
| SLR/kWh | 25.9346 | 25.8812 | 25.8178 | 25.8178 | 25.8178 | 25.8178 |  | SLR/kWh | 25.9252 | 26.0709 | 25.7209 | 25.9104 | 0 | 0
RENW | GWh | 99.0777 | 74.2553 | 86.676 | 104.307 | 167.5694 | 196.109 | RENW | GWh | 191.2273 | 197.0135 | 182.621 | 176.1995 | 156.7082 | 146.0709
| SLR/kWh | 20.3319 | 20.9801 | 20.9588 | 20.4765 | 19.8265 | 20.2875 |  | SLR/kWh | 15.5619 | 15.5082 | 15.3638 | 15.634 | 15.8108 | 15.9896
DNOR | GWh | 0 | 0 | 0 | 0 | 0 | 0 | DNOR | GWh
| SLR/kWh | 0 | 0 | 0 | 0 | 0 | 0 |  | SLR/kWh
DMAT | GWh | 12.929 | 8.9241 | 12.17 | 9.6838 | 6.0336 | 7.8928 | DMAT | GWh
| SLR/kWh | 20.479 | 20.6297 | 20.3572 | 20.2279 | 20.5144 | 20.8052 |  | SLR/kWh
DEMB | GWh | 52.364 | 46.439 | 50.746 | 50.396 | 44.407 | 48.032 | DEMB | GWh
| SLR/kWh | 19.9682 | 20.0051 | 19.9628 | 19.8154 | 19.928 | 20.0201 |  | SLR/kWh
DAPL | GWh | 31.908 | 27.487 | 29.584 | 26.758 | 22.04 | 27.264 | DAPL | GWh
| SLR/kWh | 20.0814 | 20.1818 | 20.3752 | 20.382 | 20.5763 | 20.3356 |  | SLR/kWh
DLDL | GWh | [6 empty] | DLDL | GWh
| SLR/kWh | [7 empty] | SLR/kWh
DCPL | GWh | [6 empty] | DCPL | GWh
| SLR/kWh | [7 empty] | SLR/kWh
DHOR | GWh | [6 empty] | DHOR | GWh
| SLR/kWh | [7 empty] | SLR/kWh
DPUT | GWh | [6 empty] | DPUT | GWh
| SLR/kWh | [7 empty] | SLR/kWh
GTKW | GWh | [6 empty] | GTKW | GWh
| SLR/kWh | [7 empty] | SLR/kWh
DAGG | GWh | [6 empty] | DAGG | GWh
| SLR/kWh | [7 empty] | SLR/kWh
COSB | GWh | [6 empty] | COSB | GWh
| SLR/kWh | [7 empty] | SLR/kWh
Emergency Power | GWh | [6 empty] | Emergency Power | GWh
| SLR/kWh | [7 empty] | SLR/kWh
Vpower Galle | GWh | [6 empty] | Vpower Galle | GWh
| SLR/kWh | [7 empty] | SLR/kWh
Vpower Pallekale | GWh | [6 empty] | Vpower Pallekale | GWh
| SLR/kWh | [7 empty] | SLR/kWh
Vpower Hambantota | GWh | [6 empty] | Vpower Hambantota | GWh
| SLR/kWh | [7 empty] | SLR/kWh
Vpower Horana | GWh | [6 empty] | Vpower Horana | GWh
| SLR/kWh | [7 empty] | SLR/kWh
Altaaqa Mahiyanganaya | GWh | [6 empty] | Altaaqa Mahiyanganaya | GWh
| SLR/kWh | [7 empty] | SLR/kWh
Altaaqa Polonnaruwa | GWh | [6 empty] | Altaaqa Polonnaruwa | GWh
| SLR/kWh | [7 empty] | SLR/kWh
[8 empty] | 130MW Supplementary Power | GWh
SLR/kWh
Solar Rooftop Generation | GWh | 13.703 | 17.698 | 21.826 | 17.161 | 20.214 | 19.682 | Solar Rooftop Generation | GWh | 24.7 | 24.8 | 22.4 | 20.2 | 17.2 | 18.4
| SLR/kWh | 22 | 22 | 22 | 22 | 22 | 22 |  | SLR/kWh | 22 | 22 | 22 | 22 | 22 | 22
Self generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | Self generation | GWh | 0 | 0.10565 | 0.15542 | 0.66437 | 1.7323 | 0.55098
| SLR/kWh | 36 | 36 | 36 | 36 | 36 | 36 |  | SLR/kWh | 36 | 36 | 36 | 36 | 36 | 36
TOTAL generated energy | GWh | 1409.6358 | 1313.5154 | 1511.3777 | 1395.1783 | 1504.5847 | 1473.5793 | TOTAL generated energy | GWh | 1446.5755 | 1448.2653 | 1385.2326 | 1412.8774 | 1346.6251 | 1383.1034