|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Plant**  **Availability of Fuel Stocks in Thermal Power Plants as of 07th October 2022** | **Fuel Type** | **Current Stock available at plant** | **Daily Requirement** | **Adequacy of the current stock** | **Next Stock Arrival** | **Adequacy of fuel with the arriving stock** | **Other Remarks** |
| Lakvijaya Coal  (270MW is available) | Coal | 245,000 MT (As of 22nd September) | 5,000 MT (For 2 Unit Operation) | Until End of October 2022 | Not Confirmed |  | Unit 02 is on planned Outage from 18th June 2022. |
| Sapugaskanda - A  (36MW Available) | Heavy Fuel | 2,352 CM | 194 CM | 12 Days | Not Confirmed |  |  |
| Sapugaskanda - B  (54MW Available) | Heavy Fuel | 2,754 CM | 275 CM | 10 Days | Not Confirmed |  |  |
| Barge (60MW) | Heavy Fuel | 729 CM | 318 CM | 2 Days | Not Confirmed |  |  |
| Uthuru Janani (24MW) | Heavy Fuel | 1,693 CM | 126 CM | 13 Days | Not Confirmed |  |  |
| Kelanitissa CCY  (150MW) | Naphtha (Preferred) or  Auto Diesel | 0 CM  (Naphtha)  2,721 CM  (Diesel) | 1,073 CM – Naphtha  867 CM – Auto Diesel | 1 Day for KCCP, GT07 & small GTs with Diesel | Not Confirmed |  |  |
| Kelanitissa GT 7  (115MW) | Auto Diesel | 949 CM |  |
| Small GTs  (16MW available) | Auto Diesel | 197 CM |  |
| KPS - Mathugama  (20MW) | Auto Diesel | 87 CM | 95 CM | 1 Day | Not Confirmed |  |  |
| KPS – Thulhiriya  (10MW) | Auto Diesel | 8 CM | 41 CM | No Fuel | Not Confirmed |  | Shut down due to lack of fuel. |
| KPS - Kolonnawa 1  (10MW) | Auto Diesel | 8 CM | 48 CM | No Fuel | Not Confirmed |  | Shut down due to lack of fuel. |
| KPS - Kolonnawa 2  (10MW) | Auto Diesel | 11 CM | 54 CM | 0.25 Days | Not Confirmed |  |  |
| Sojitz  (130MW available) | Auto Diesel | 0 MT | 550 MT | No Fuel | Not Confirmed |  | Shut down due to lack of fuel and issue in the PPA |
| West Coast (270MW) | Auto Diesel / Heavy Fuel | 4,500 CM  (Heavy Fuel) | 1,500 CM – Heavy Fuel  1,650 CM – Auto Diesel | 3 Days | Not Confirmed |  | Plant has informed that they have not received payments from CEB for nearly 9 months. So, the plant has to be declared as shut down from next January onwards as they have no cash flow for regular maintenance works. |
| ACE Embilipitiya (93MW) | Heavy Fuel | 0 CM | 480 CM | No Fuel | Not Confirmed |  | PPA expired on 28/09/2022 |
| ACE Matara (24MW) | Heavy Fuel | 150 CM | 132 CM | 1 Day | Not Confirmed |  |  |