|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Plant****Availability of Fuel Stocks in Thermal Power Plants as of 19th October 2022** | **Fuel Type** | **Current Stock available at plant** | **Daily Requirement** | **Adequacy of the current stock** | **Next Stock Arrival** | **Adequacy of fuel with the arriving stock** | **Other Remarks** |
| Lakvijaya Coal (270MW is available) | Coal | 129,651 MT (As of 16th October) | 5,000 MT (For 2 Unit Operation) | Until the end of 1st Week of November 2022 | Not Confirmed |  | Unit 02 is on planned Outage from 18th June 2022. |
| Sapugaskanda - A(36MW Available) | Heavy Fuel | 2,486 CM | 194 CM | 12 Days | Not Confirmed |  |  |
| Sapugaskanda - B(54MW Available) | Heavy Fuel | 2,676 CM | 321 CM | 8 Days | Not Confirmed |  |  |
| Barge (60MW) | Heavy Fuel | 0 CM | 318 CM | No Fuel | Not Confirmed |  | Shut down due to lack of fuel. |
| Uthuru Janani (24MW) | Heavy Fuel | 1,670 CM | 126 CM | 13 Days | Not Confirmed |  |  |
| Kelanitissa CCY(150MW) | Naphtha (Preferred) orAuto Diesel  | 0 CM(Naphtha)2,705 CM(Diesel) | 1,073 CM – Naphtha867 CM – Auto Diesel | 1 Day for KCCP, GT07 & small GTs with Diesel | Not Confirmed |  |  |
| Kelanitissa GT 7(115MW) | Auto Diesel | 949 CM |  |
| Small GTs(16MW available) | Auto Diesel | 197 CM |  |
| KPS - Mathugama(20MW) | Auto Diesel | 87 CM | 95 CM | 1 Day | Not Confirmed |  |  |
| KPS – Thulhiriya(10MW) | Auto Diesel | 8 CM | 41 CM | No Fuel | Not Confirmed |  | Shut down due to lack of fuel. |
| KPS - Kolonnawa 1(10MW) | Auto Diesel | 8 CM | 48 CM | No Fuel | Not Confirmed |  | Shut down due to lack of fuel. |
| KPS - Kolonnawa 2(10MW) | Auto Diesel | 11 CM | 54 CM | 0.25 Days | Not Confirmed |  |  |
| Sojitz(130MW available) | Auto Diesel | 0 MT | 550 MT | No Fuel | Not Confirmed |  | Shut down due to lack of fuel and issue in the PPA |
| West Coast (270MW) | Auto Diesel / Heavy Fuel | 2,000 CM(Heavy Fuel) | 1,500 CM – Heavy Fuel1,650 CM – Auto Diesel | 1.25 Days | Not Confirmed |  | Plant has informed that they have not received payments from CEB for nearly 9 months. So, the plant has to be declared as shut down from next January onwards as they have no cash flow for regular maintenance works.8,000 MT of bonded stock of furnace oil is available. |
| ACE Embilipitiya (93MW) | Heavy Fuel | 0 CM | 480 CM  | No Fuel | Not Confirmed |  | PPA expired on 28/09/2022 |
| ACE Matara (24MW) | Heavy Fuel | 130 CM | 132 CM | 1 Day | Not Confirmed |  |  |