## Note
This document presents the System Average Interruption Duration Index (SAIDI) and the System Average Interruption Frequency Index (SAIFI) for distribution licensees in Sri Lanka, measured in minutes and occurrences, respectively. It covers all interruptions resulting from planned outages (MV/LV), breakdowns (MV/LV), and transmission failures. The assumptions used by each distribution licensee in calculating these indices are detailed in a separate sheet.

## Assumptions
Licensee | Province | Assumptions
Distribution Division 1 of CEB | NP, NCP, NWP I, NWP II | If there are three LT feeders for a substation & when having a phase failure, number of affected customers is assumed by dividing total customers in the sub by 9.
| Colombo City | No. of customers per SAT/TF is 112.
Distribution Division 2 of CEB | CP1 | For the LT feeder breakdown 100 no. of customers and for the MV feeder breakdown 1000 no. of customers were assumed if the no. of interrupted customers cannot be indicated
| CP2 | For the LT feeder breakdown 100 no. of customers and for the MV feeder breakdown 1000 no. of customers were assumed if the no. of interrupted customers cannot be indicated
| EP | For the LT feeder breakdown, no. of customers were assumed according to the no. of LT feeders
| WPN | There are four LV feeders in all Substations
When there is a phase failure effected customers will be, no of customers in the substation divided by 12
For other LV failures effected customers will be, no of customers in the substation divided by 4
Distribution Division 3 of CEB | Sabaragamuwa | Customer count is equally distributed for each Transformers in the CSC
Customers equally distributed among all the substations
AR Trappings not considered
Every Substation consist of four feeders ( Consider as 25% of Consumers in the Substation are affecting LT Breakdown)
Every Planned interruption (SMS Sent) are assumed to be executed.
Planned interruption duration is taken as the planed value irrespective the actual values
Non reported breakdown is not considered
All Above assumptions are on top of the assumptions made by the Ceb Assist report generating tool.
Neutral leak failures have not been considered for calculations.
| Uva | Customer count is equally distributed among all feeders of the substation
Customers equally distributed among all the substations
AR Trappings not considered
Every Substation consist of four feeders
Every Planned / Unplanned interruption (SMS sent) are assumed to be executed
Planned / Unplanned interruption duration is taken as the planed value irrespective the actual values
Non reported breakdown is not considered
Sudden unplanned interruption which are not reported are not accounted.
All above assumptions are on top of the assumptions made by the CEB Assist report generating tool
| WPS II | All connected customers have been equally distributed among all feeders of the transformer
There are three No. of feeders feeding by each distribution or distribution + bulk transformer in SriJ'Pura area. In other areas, actual no of feeders have been taken in to consideration. However, when data is not available, No of feeders have been considered as three in other areas as well
Average value of No. of LV customers per distribution transformer ( has been calculated for each area using the data from progress report –September-2024) has been taken for the calculations in SriJ'Pura area. In other areas, actual no of customers per transformer have been taken in to consideration, However, when data is not available, average No. of customers were taken for the calculation in other areas as well
No of connected customers in distribution + bulk transformer has been considered as half of the average value of No. of customers for distribution transformer when calculating SAIDI/SAIFI for SriJ'Pura area
Total customers in the province have been taken by progress report of September 2024
Jumper point failures in LV lines have been considered as one feeder failure
No of feeders and phases affected have been considered as 1 whenever relevant data are not available
Neutral leak failures have not been considered for calculation
If there is not sufficient data to get the time duration or number of affected consumers, those incidents are not taken for the calculation
Distribution Division 4 of CEB |  | General Assumptions
Total number of customers remains relatively stable during the calculation period, without significant additions or losses.
Outage data collected (Outage type, duration, customer count and frequency) is accurate and complete, relying on consistent reporting practices.
The customer count in each GSS feeder is taken based on the Optimum Network Configuration maintained in CEB Assist by P&D unit when calculating SAIDI SAIFI due to GSS feeder tripping.
Assumptions for number of affected LV customers for LV breakdowns
No of total customers for a particular Distribution substation is taken from CEB Assist.
Total number of LV feeders for a Distribution substation is assumed as 3. Based on that, the number of affected customers for a LV feeder failure is determined dividing by 3 and number of affected customers for a phase outage is calculated dividing by 9.
Distribution Division of LECO |  | No. of customers connected to each substation is constant throughout the year. (Connected customer numbers are updated annually)
Each distribution substation is having three LV feeders. Therefore, when one DDLO fuse is blown or one LV feeder is failed, affected number of customers is taken as 1/3 of total connected customers of the substation.

## Distribution Division 1 of CEB
Province | Area | SAIDI
2024
|  | July | August | September
Nothern Province | Jaffna East | 123.36 | 64.57 | 86.41
| Jaffna | 49.35 | 81.48 | 43.08
| Kilinochchi | 83.23 | 167.71 | 104.56
| Vavuniya | 254.6 | 316.93 | 131.56
| Province | 120.3982 | 157.9036 | 85.759
Nothern Central Province | Anuradhapura | 168.48 | 92.57 | 39.7492
| Kekirawa | 112.15 | 126.18 | 46.6974
| Minneriya | 58.42 | 79.45 | 52.536
| Province | 118.7009 | 97.8971 | 45.6452
Nothern Western Province I | Chilaw | 233.92 | 457.83 | 294.5106
| Kuliyapitiya | 217.94 | 444.63 | 314.7388
| Wennappuwa | 672.04 | 455.99 | 309.7397
| Puttalam | 921.15 | 485.87 | 357.219
| Province | 519.3112 | 462.1161 | 320.3149
Nothern Western Province II | Narammala | 209.4917 | 210.85 | 101.8786
| Wariyapola | 202.6381 | 164.55 | 199.9927
| Kurunegala | 373.631 | 436.34 | 118.7245
| Maho | 456.1117 | 224.68 | 199.1024
| Province | 323.2804 | 281.1739 | 150.5981
Colombo City | East | 3.1515 | 4.189 | 2.3905
| North | 11.547 | 3.863 | 6.9644
| South | 21.4535 | 1.316 | 3.4897
| West | 22.7938 | 6.529 | 7.0297
| Province | 14.1684 | 3.6936 | 4.8571
Distribution Division 1- Total |  | 245.4158 | 224.1053 | 134.8046
Province | Area | SAIFI
|  | July | August | September
Nothern Province | Jaffna East | 0.89 | 0.62 | 0.65
| Jaffna | 0.49 | 0.83 | 0.58
| Kilinochchi | 0.66 | 0.97 | 1.14
| Vavuniya | 1.21 | 1.54 | 0.99
| Province | 0.77185 | 1.0098 | 0.81838
Nothern Central Province | Anuradhapura | 0.57 | 0.36 | 0.22722
| Kekirawa | 0.53 | 0.51 | 0.28125
| Minneriya | 0.35 | 0.56 | 0.31535
| Province | 0.49077 | 0.46379 | 0.26957
Nothern Western Province I | Chilaw | 1.88 | 5.11 | 5.155
| Kuliyapitiya | 2.29 | 6.37 | 4.8653
| Wennappuwa | 2.88 | 2.55 | 4.35
| Puttalam | 2.77 | 3.41 | 3.4138
| Province | 2.4484 | 4.3723 | 4.4197
Nothern Western Province II | Narammala | 0.78095 | 0.83 | 0.48892
| Wariyapola | 0.5911 | 0.46 | 0.47152
| Kurunegala | 0.87576 | 1.1 | 0.36066
| Maho | 1.2028 | 0.62 | 0.41827
| Province | 0.87417 | 0.79261 | 0.42359
Colombo City | East | 0.040434 | 0.065 | 0.048935
| North | 0.32349 | 0.093 | 0.11302
| South | 0.67842 | 0.024 | 0.15582
| West | 0.84553 | 0.112 | 0.23533
| Province | 0.4425 | 0.069963 | 0.13015
Distribution Division 1- Total |  | 1.0569 | 1.4554 | 1.2773

## Distribution Division 2 of CEB
Province | Area | SAIDI
2024
|  | July | August | September
Central Province-1 | Kandy City | 141.23 | 33.79 | 51.1
| Kundasale | 764.08 | 464.43 | 338.72
| Katugasthota | 724.81 | 304.98 | 589.68
| Galagedara | 908.88 | 459.75 | 135.29
| Matale | 755.82 | 610.01 | 365.6
| Dambulla | 413.35 | 348.31 | 283.08
| Hasalaka (Proposed) | 0 | 0 | 0
| Province | 664.1489 | 409.49 | 312.9441
Central Province-2 | Ginigathhena | 453.08 | 370.29 | 8.09
| Haguranketha | 1320.05 | 951.29 | 16.03
| Kegalle | 545.09 | 682.03 | 4.64
| Mawanella | 540.77 | 390.72 | 4.95
| Nawalapitiya | 170.43 | 247.58 | 4.28
| Nuwaraeliya | 364.2 | 172.83 | 4.46
| Peradeniya | 520.89 | 340.59 | 6.69
| Province | 524.7676 | 439.191 | 6.54
Eastern Province | Trincomalee | 579.0392 | 229.1218 | 158.67
| Batticaloa | 246.9756 | 346.1505 | 73.23
| Kalmunai | 751.9394 | 491.8775 | 133.32
| Ampara | 454.7516 | 652.7384 | 373.22
| Valachchenai | 260.3683 | 770.445 | 97.63
| Province | 466.408 | 485.2549 | 185.8774
Western Province North | Divlapitiya | 303.2125 | 312.8707 | 111.9784
| Gampaha | 177.7128 | 186.7628 | 65.2761
| Ja-ela | 270.7167 | 117.517 | 95.9559
| Kelaniya | 180.8362 | 193.3151 | 120.3144
| Negambo | 255.089 | 352.7052 | 106.9386
| Veyangoda | 270.4187 | 150.6766 | 275.6711
| Kirindiwela | 379.0867 | 266.7737 | 130.7825
| Province | 250.6914 | 221.5607 | 129.8388
Distribution Division 2 -Total |  | 450.3222 | 375.8219 | 150.1278
Province | Area | SAIFI
|  | July | August | September
Central Province-1 | Kandy City | 1.63 | 0.47 | 1.97
| Kundasale | 2.28 | 2.04 | 2.31
| Katugasthota | 6.04 | 1.66 | 6.05
| Galagedara | 4.55 | 2.33 | 2.8
| Matale | 5.14 | 3.75 | 2.82
| Dambulla | 4.35 | 3.59 | 4.27
| Hasalaka (Proposed) | 0 | 0 | 0
| Province | 3.9402 | 2.4431 | 3.277
Central Province-2 | Ginigathhena | 5.13 | 3.65 | 5.62
| Haguranketha | 3.41 | 1.94 | 3.07
| Kegalle | 4.44 | 4.47 | 1.69
| Mawanella | 1.23 | 3.3 | 2.34
| Nawalapitiya | 1.49 | 1.01 | 1.03
| Nuwaraeliya | 1.96 | 1.23 | 1.57
| Peradeniya | 3.43 | 2.82 | 3.27
| Province | 3.0936 | 2.7216 | 2.5782
Eastern Province | Trincomalee | 1.8612 | 1.0801 | 1.236
| Batticaloa | 2.2845 | 2.4962 | 1.99
| Kalmunai | 2.1741 | 0.98271 | 0.86
| Ampara | 2.7097 | 3.7298 | 3.37
| Valachchenai | 3.6606 | 4.1942 | 2
| Province | 2.4718 | 2.4891 | 1.9906
Western Province North | Divlapitiya | 1.0907 | 1.0481 | 0.59309
| Gampaha | 0.56982 | 0.5816 | 0.27753
| Ja-ela | 1.1998 | 0.3111 | 0.42996
| Kelaniya | 1.4999 | 0.57183 | 0.8682
| Negambo | 1.3586 | 0.97372 | 0.64698
| Veyangoda | 1.2995 | 0.62359 | 0.82705
| Kirindiwela | 2.405 | 0.78155 | 0.7419
| Province | 1.288 | 0.6821 | 0.62814
Distribution Division 2 -Total |  | 2.5299 | 1.9618 | 1.9483

## Distribution Division 3 of CEB
Province | Area | SAIDI
2024
|  | July | August | September
Sabaragamuwa | Eheliyagoda | 143.3119 | 117.2251 | 118.3
| Embilipitiya | 219.8263 | 244.3542 | 88.1
| Kahawatta | 174.8608 | 158.2826 | 51.9
| Ratnapura | 113.2873 | 59.4712 | 23.1003
| Ruwanwella | 54.863 | 196.3352 | 39.7
| Province | 137.4923 | 153.12 | 61.15
Western Province South-2 | Avissawella | 427.5429 | 290.1588 | 249.015
| Bandaragama | 91.3572 | 181.4511 | 106.4696
| Homagama | 169.8199 | 118.1829 | 87.0035
| Horana | 274.6586 | 280.7939 | 140.4156
| Sri J'pura | 243.3777 | 200.7421 | 146.3587
| Province | 252.4848 | 212.8462 | 144.8879
Uva | Badulla | 185.4028 | 187.1 | 231.9322
| Diyatalawa | 336.7192 | 446.5 | 350.87
| Monaragala | 129.6382 | 159.6 | 273.2
| Mahiyanganaya | 571.8073 | 274.1 | 415.37
| Wellawaya | 191.1873 | 278.9 | 202.92
| Province | 294.62 | 292.87 | 303.85
Distribution Division 3 -Total |  | 222.62 | 215.05 | 162.03
Province | Area | SAIFI
|  | July | August | September
Sabaragamuwa | Eheliyagoda | 4.534 | 2.902 | 2.606
| Embilipitiya | 4.2827 | 4.4596 | 2.6935
| Kahawatta | 4.6547 | 4.1383 | 2.3876
| Ratnapura | 4.0929 | 2.5748 | 2.7911
| Ruwanwella | 4.2214 | 5.933 | 4.0445
| Province | 4.3454 | 4.02 | 2.93
Western Province South-2 | Avissawella | 2.2637 | 2.1646 | 2.1
| Bandaragama | 2.1135 | 2.443 | 2.4
| Homagama | 1.0365 | 1.2851 | 1.27
| Horana | 1.6921 | 1.9247 | 0.73
| Sri J'pura | 1.612 | 1.3844 | 1.04
| Province | 1.6933 | 1.7621 | 1.4
Uva | Badulla | 5.4799 | 5.9 | 3.14
| Diyatalawa | 6.261 | 5.3 | 2.23
| Monaragala | 4.4 | 5.3 | 3.23
| Mahiyanganaya | 9.442 | 9.5 | 2.78
| Wellawaya | 4.8084 | 7.2 | 2.61
| Province | 6.18 | 6.52 | 2.73
Distribution Division 3 -Total |  | 4.05 | 4.01 | 2.36

## Distribution Division 4 of CEB
Province | Area | SAIDI
2024
|  | July | August | September
Southern Province 1 | Ambalangoda | 294.3451 | 238.8441 | 93.2688
| Baddegama | 348.907 | 291.5499 | 266.6846
| Galle | 411.6517 | 434.8344 | 171.7874
| Akuressa | 499.1976 | 423.6344 | 332.5842
| Provincial Total | 400.1872 | 360.6988 | 221.9416
Southern Province 2 | Matara | 433.2 | 295.2 | 256.8
| Tangalle | 231.6 | 409.8 | 224.4
| Hambantota | 331.2 | 321.6 | 76.2
| Provincial Total | 338.4 | 340.2 | 196.2
Western Province South 1 | Dehiwala | 311.0861 | 84.429 | 200.3298
| Kaluthara | 177.7451 | 217.8292 | 247.1655
| Matugama | 208.7455 | 192.8711 | 157.1568
| Ratmalana | 281.1189 | 194.1863 | 179.8493
| Provincial Total | 244.8326 | 179.8092 | 193.8197
Distribution Division 4 -Total |  | 337.449 | 305.1423 | 205.6379
Province | Area | SAIFI
|  | July | August | September
Southern Province 1 | Ambalangoda | 1.4015 | 1.1775 | 1.4871
| Baddegama | 2.3593 | 1.8579 | 2.3592
| Galle | 2.6036 | 2.6739 | 1.6289
| Akuressa | 2.1845 | 1.459 | 2.0853
| Provincial Total | 2.1692 | 1.8232 | 1.88
Southern Province 2 | Matara | 2.57 | 1.54 | 1.97
| Tangalle | 2.04 | 1.64 | 1.68
| Hambantota | 1.93 | 1.5 | 1.14
| Provincial Total | 2.22 | 1.56 | 1.64
Western Province South 1 | Dehiwala | 4.39 | 2.3007 | 2.6608
| Kaluthara | 4.4412 | 1.8576 | 2.6413
| Matugama | 3.701 | 3.5299 | 1.8773
| Ratmalana | 3.665 | 3.2811 | 3.3449
| Provincial Total | 3.9848 | 2.8324 | 2.7047
Distribution Division 4 -Total |  | 2.6742 | 2.0048 | 2.0199

## Distribution Division of LECO
Area | SAIDI
2024
| July | August | September
Kotte | 300 | 129.6 | 81
Nugegoda | 183 | 176.4 | 168.6
Kelaniya | 276.6 | 149.4 | 135.6
Moratuwa | 269.4 | 111 | 358.8
Galle | 551.4 | 342 | 315.6
Kalutara | 326.4 | 118.8 | 120.6
Negombo | 249.6 | 254.4 | 219.6
Distribution Division of LECO -Total | 313.8 | 175.8 | 200.4
Area | SAIFI
| July | August | September
Kotte | 7 | 4 | 2
Nugegoda | 8 | 7 | 3
Kelaniya | 4 | 4 | 5
Moratuwa | 6 | 4 | 8
Galle | 12 | 6 | 7
Kalutara | 8 | 5 | 7
Negombo | 6 | 6 | 6
Distribution Division 5 -Total | 7 | 5 | 6